- Supplementary Table 1. Cryo-EM data collection and validation statistics.

|  | CCHFV L protein alone | CCHFV L–5' vRNA complex | CCHFV L–suramin complex |
| --- | --- | --- | --- |
|  | EMD-68655 PDB 22TE | EMDB-68663 PDB 22TR | EMD-68657 PDB 22TH |
| Data collection and processing |  |  |  |
| Microscope | Titan Krios G4 | Titan Krios G4 | Titan Krios G4 |
| Detector | Falcon 4 | Falcon 4 | Falcon 4 |
| Magnification (nominal/calibrated) | 165,000 | 165,000 | 165,000 |
| Voltage (kV) | 300 | 300 | 300 |
| Electron exposure (e-/Å2) | 50 | 50 | 50 |
| Defocus rang (μm) | -0.8~-2.5 | -0.8~-2.5 | -0.8~-2.5 |
| Pixel size (Å) | 0.73 | 0.73 | 0.73 |
| Symmetry imposed | C1 | C1 | C1 |
| Initial particle images (no.) | 3,444,016 | 4,033,305 | 3,018,770 |
| Final particle images (no.) | 48,496 | 66,103 | 37,822 |
| Map resolution (Å) | 2.59 | 2.75 | 2.5 |
| FSC threshold | 0.143 | 0.143 | 0.143 |
| Map resolution range (Å) | 2.5~4.5 | 2.5~4.5 | 2.5~4.5 |
| Model refinement and validation |  |  |  |
| Initial model used | AlphaFold-predicted model |  |  |
| Model resolution (Å) | 2.9 | 3.1 | 2.9 |
| FSC threshold | 0.5 | 0.5 | 0.5 |
| Model composition |  |  |  |
| Chains | 1 | 2 | 1 |
| Non-hydrogen atoms | 10926 | 12007 | 11971 |
| Protein residues | 1386 | 1517 | 1517 |
| Nucleotides | - | 11 | - |
| Ligands | 2 (Zn2+), 2 (Mn2+) | 2 (Zn2+), 1 (Mn2+) | 2 (Zn2+), 2 (Mn2+) 5 (Suramin) |
| B factors (Å2) |  |  |  |
| Protein | 43.74 | 58.59 | 67.59 |
| Nucleotides | - | 22.17 | - |
| Ligand | 100.93 | 93.15 | 129.54 |
| R.m.s. deviations |  |  |  |
| Bond lengths (Å) | 0.002 | 0.002 | 0.002 |
| Bond angles (o) | 0.499 | 0.489 | 0.452 |
| Validation |  |  |  |
| MolProbity score | 1.42 | 1.56 | 1.49 |
| Clash score | 7.16 | 7.83 | 7.33 |
| Rotamer outliers (%) | 0.65 | 0.15 | 0.85 |
| Ramachandran plot |  |  |  |
| Favored (%) | 97.87 | 97.31 | 97.59 |
| Allowed (%) | 2.13 | 2.69 | 2.35 |
| Disallowed (%) | 0.00 | 0.00 | 0.07 |